## Warranty
Wakon Iron Hall | Estimated Cost | Scope
Warranty Through BUI
pull chain 3rd SE window, fix (pulled out of wall) | warranty | Repair the pull chain on the 3rd SE window in WIH
re key door at janitors | warranty | Rekey door to janitors closet in the WIH
north double door table room, repair | warranty | Repair the north double door in the table room, do not lock
women's handicap drain bathroom upper pipe, leaking, fix | warranty | Repair the handicap drain in the bathroom which is leaking | #REF!
spots need dirt | warranty | install dirt in areas that are sunken below grade, match elevation of existing, seed
loose vaneers on the south side | warranty | replace/repair

## Before Dances
Wakon Iron Hall | Estimated Cost | Scope
Plumbing
Wakon Iron Hall
Sewer lines in both women and men RRs | 680 | Inspect lines with camera; remove any obstructions by snaking building drain line
West urinal | 200 | repair urinal in Men's restroom, west urinal at WIH
kitchen drains for sinks go beyond lip, north and west | 450 | Repair all drains in kitchen area where 2" pvc is below lip of the floor drain at WIH
General Construction
Wakon Iron Hall
Benches in showers in the men and women RRs at WIH | 2800 | Install benches and mount to concrete floor with fasteners
coat racks on south wall and bathrooms, 9 ea | 2025 | Install 9 ea coat racks in the WIH, install identical to existing racks
north and south door exit signs | 600 | Install exits signs on the north and south doors, WIH
Door Knob for Drumkeeper room | 450 | install a door locking mechanism on the drum keepers room, WIH
Concenssion Stand
repairs in bathrooms | 27000 | Repair plumbing in both bathrooms
hvac in whole the building, outdated with condensate leaks | 17000 | Install new HVAc system in bathrooms
Tasks
grease trap, empty | 450 | Empty the grease trap

## After Dances
Wakon Iron Hall | Estimated Cost | Scope
Plumbing
Wakon Iron Chapel
water pressure on hot water tank, doesn't heat | 250 | repair water tank, no hot water
drain in women's shower, does not drain to the drain, drains to the west edge and on the floor | 300 | repair floor drain
water pressure, 1st toilet, has never flushed correctly, needs more pressure | 150 | repair 1st toilet
sewer smell in men and women's RRs from floor drains | 700 | repair floor drains, sewer smell
drain in mop room, needs repair | 500 | Repair floor drains in the mop room
General Construction
Wakon Iron Hall
slope, to load and unload food at north door, kitchen at WIH | 8500 | repair concrete curb to match curb to the south of drumkeeper room
Outside cook area move further west (detached, fill in grout with pavers) | 56100 | remove screenings, install pavers to match existing, ensure finish floor grade matches existing
Pavers around cook area, including current cook area w pavers | 3500 | Remove pavers under the cook area and install concrete, level with existing concrete, same finish
sidewalk between cook area and chapel | 2600 | install 6' sidewalk from the existing cook area NW of WIH and connect to WIC at the east door
dead bolt at office door (family room) | 250 | Install dead bolt lock on the family room of the WIH
benches, 8 ft, 16ea | 650 | Build eighten benches, paint, submit paint color to 5MB before painting
storage bin in North end all the way the across for christmas and supplies, with locks | 2000 | Install a storage bin with locking door on the west end of the table room.
blinds on family room interior glass | 600 | install blinds on the family room glass
Wakon Iron Chapel
pantry ceiling, needs finished | 250 | install pantry ceiling
window needs caulking, SE Corner, leaking from top | 75 | Caulk window to repair leak, SE Corner
benches in men and women's RRs | 600 | Install benches in the mens and women's bathrooms
plants on south side of chapel, against the building, pompous grass (stays green) | 1500 | Plant Pampus grass, 600 sf south of WIC
redo floor with LVT | 5000 | Prepare floor in WIC, Install LVT flooring in the main chapel area. Get approval by 5MB for flooring type and color prior to installing.
remove tribal seal and install metal cross | 180 | Remove the Tribal Seal on the WIC Cedar wall; install metal cross
Indian Camp
clean up excavation along 15 street with water line going to Osage Pawhuska Casino | 200 | Clean up excavated rocks along 15th street
clean out building drains on all 65 homes | 39000 | Clean building drains in all 65 homes
clean up debris and excavate - Asa Cunningham, Old Pasetopah, rosco murphy, jesse davis (all empty lots) | 100000 | Clean up debris in several abandoned locations.
RE Yarbrough - remove house, debris, reexcavate, test for hazards | 12000 | Remove house, debris, reexcavate, test for hazards
improve storm drain throughout the village | 120000 | Improve storm drain throughout village
Water Tower
Install Solar Lighting
Speed Bumps
Seams on roof leaking on arbor
12 benches under dance arbor for dancers.
the intake and exhaust fan louvers on the shelter are all leaking rain water
Tasks
move the old WIH refrigerator and freezer to concession, dispose of those inside | 120 | Move the old WIH refrigerator and freezer in concesssion stand, dispose of those inside
Purchases
coffee pots. 1 ea for WIH and WIC | 71.5 | Purchase two coffee pots
microwave for WIH | 220 | Purchase a microwave
trash bins, outside 2 ea for WIH and WIC | 132 | Install 2 outside trash bins, WIH
cigarette ashtrays for outdoors, 2 ea for WIH and WIC | 330 | Purchase 2 outdoor type cigarette ashtrays
Purchase dog catcher device | 990 | https://thenetgunstore.com/
Ketch-All Catch Hoop for Dogs | 132 | https://animal-care.com/product/ketch-all-catch-pole/
Kennel for Dogs | 462 | https://www.tractorsupply.com/tsc/product/retriever-lodge-expandable-kennel-10-ft-l-x-5-ft-w-x-6-ft-h-1125564?store=1520&cid=Shopping-Google-Local_Feed&utm_medium=Google&utm_source=Shopping&utm_campaign=&utm_content=Local_Feed&gad_source=1&gclid=EAIaIQobChMIo7eH8smxhQMVwnR_AB1sMgIEEAQYBCABEgI4rvD_BwE
75' x 3/8" Drain Cleaner 250 W Drain Cleaning Machine Sewer Clog w/ Cutters | 255.2 | https://www.vevor.com/drain-cleaner-machine-c_10849/75-x-3-8-drain-cleaner-machine-commercial-sewer-snake-plumbing-machine-great-p_010507395858?adp=gmc&utm_source=google&utm_medium=cpc&utm_id=20954503136&utm_term=&gad_source=1&gclid=EAIaIQobChMI7aCCjsixhQMVjTjUAR22mQH1EAQYByABEgK6o_D_BwE
Sewer Camera w Screen, Pipeline Inspection Camera with DVR Function Snake Cable | 365.2 | https://www.homedepot.com/p/VEVOR-Sewer-Pipe-Camera-4-3-in-Screen-Inspection-Camera-Borescope-IP68-164-ft-Snake-Cable-with-DVR-LED-Light-for-Home-Duct-GDKSYYC-4-3505HP0V0/325075591?source=shoppingads&locale=en-US&srsltid=AfmBOorooO2bEJI4d8Z8OmYW1qTo4XfUOjKL5Aa9JUdKRewtz6wmMUo3vTM
Total | 358000